**VENTILATION SYSTEM OVERVIEW**

This template has been developed to support school districts in sharing information on ventilation systems at the school level. This includes information on how systems meet requirements for regular inspection and maintenance, and additional mitigations that have been put in place to promote student and staff safety throughout the pandemic.

|  |  |
| --- | --- |
| **School District:** | 08 - Kootenay Lake |
| **School Name:** | South Creston (Home links) |
| **REQUIREMENT:**  Regular inspection and maintenance of HVAC systems | Yes/No:  Yes |
| Date of last inspection:  2023-sept |
| Date of next inspection:  2023-nov |
| Date and type of most recent maintenance:  Inspect and replaced filters |
| **RECOMMENDATION:**  Increase supply of outside air | Yes/No:  Yes |
| Detail: Using as much outside air as possible, while maintaining comfort levels in classrooms. |
| **RECOMMENDATION:**  Upgrade filtration, including installing MERV-13 filters, where possible | Yes/No:  Yes |
| Detail (Including filter grade):  MERV 13 filters installed |
| **RECOMMENDATION:** Use other air cleaning or treatment technologies | Yes/No:  Yes |
| Detail: Portable air cleaners have been provided. |
| **RECOMMENDATION:**  Manage energy use and air distribution through building automation control systems | Yes/No:  Yes |
| Detail: Direct Digital Controls. (DDC) |
| **Other Relevant Information:** | Space leased through the Town of Creston. |
| **District Contact for any Questions:** | Name: Chris Kerr |
| Phone Number: 250-354-4871 |
| Email: Chris.Kerr@sd8.bc.ca |
|  |  |